DEPARTMENT OF PATIENT CARE SERVICES

BIRTH CENTER

TAMPONADE BALLOON CATHETER

INTRODUCTION: Obstetrical bleeding secondary to placenta previa with variable degrees of accretism is not uncommon. Postpartum bleeding immediately after the placenta is delivered with an incidence of one in twenty deliveries is one of the leading causes of maternal mortality.

Tamponade balloon catheter may be utilized for temporary control or reduction of postpartum uterine bleeding when conservative management is warranted and is used in association with close monitoring of signs/symptoms of coagulopathy, atonic bleeding or arterial bleeding.

PURPOSE: Outline nursing management of the tamponade balloon catheter.

DEFINITION OF TERMS:

DIC-disseminated intravascular coagulation

US-ultra sound

POLICY:

Contraindications:

- Arterial bleeding requiring surgical exploration or angiographic embolization

- Cases indicating hysterectomy

- Pregnancy

- Cervical cancer

- Purulent infections of the uterus, cervix or vagina

- Uterine anomaly

- DIC

- Surgical site that may prohibit the device from effectively controlling bleeding

1.    Catheter Insertion (vaginal delivery/transvaginal placement)

  - The LIP may require the use of an US for guidance, placement and volume verification

  - Place indwelling foley catheter as ordered

  - The vaginal canal may be packed with gauze/laps at time of balloon insertion (only use radiopaque laps)

2.   Catheter Insertion (cesarean delivery/transabdominal placement)

- The LIP may require the use of an US for guidance, placement and volume verification

- The RN may assist with pulling the shaft of the balloon through the vaginal canal until the deflated     balloon base comes into contact with the internal cervical ostium

- The vaginal canal may be packed with gauze/laps at time of balloon insertion (only use radiopaque laps)

3.   Inflating the Balloon

- Assure that the patient’s bladder is empty prior to inflation

- Use sterile saline or lactated ringers ONLY

- Maximum inflation volume is 500 mL…do NOT over inflate the balloon

- Place up to 500 ml sterile normal saline or lactated ringers into sterile basin (to avoid over-inflation of balloon, do not fill basin with more than 500 ml of sterile fluid)

- Using the enclosed syringe, fill the balloon with the predetermined volume through the stopcock

- Apply gentle traction to the balloon shaft to ensure proper contact between the balloon and tissue surface

- Maintain tension on balloon by taping the balloon shaft to patient’s leg (if balloon becomes dislodged, deflate, reposition and re-inflate. Vaginal packing may be used to aid in securing balloon)

- DOCUMENT the volume of infused in the medical record AND the number of laps used

4.   Patient Monitoring

- Once balloon is properly placed and inflated, connect drainage port (flanged) to Urimeter foley bag to monitor hemostasis

- To adequately monitor hemostasis, the balloon drainage port and tubing should be flushed clear of clots with normal saline

- Flush port q shift with 10cc NS

- Monitor patient continuously for signs of increased bleeding, uterine cramping and/or deteriorating condition

a.   Blood pressure, pulse, SPO2, urine output, cramping, pallor, active bleeding

b.   Deteriorating condition (or lack of improvement) warrants more aggressive treatment and

management of uterine bleeding

5.   Catheter Removal

- Maximum indwell time is 24 hours.  The LIP may remove the tamponade balloon catheter sooner if hemostasis is achieved or more aggressive treatment is warranted.

- Remove tension from balloon shaft

- Remove any/all vaginal packing

- Using an appropriate syringe, aspirate the contents of the balloon until fully deflated

- DO NOT CUT THE CATHETER SHAFT OR INFUSION PORT TO DEFLATE THE BALLOON

- Gently retract the balloon from the uterus and vaginal canal and discard

- Continue to monitor the patient for signs of bleeding and hemodynamic instability

- Document the amount of fluid removed and number of lap sponges removed

RESPONSIBILITIES: The LIP places and removes the tamponade balloon catheter; the RN will perform continued assessments, assist LIP, document and report findings to LIP.

REFERENCES:

Bakri YN, et al. Tamponade-balloon for obstetrical bleeding. Int. J. Gynecol. Obstet.

2001; 74: 139-142.

G. S. Condous, et al. The “Tamponade Test” in the Management of Massive Postpartum

Hemorrhage. Obstetrics and Gynecology (2003) Vol. 101, No. 4:767-772.

REVIEW / REVISION HISTORY

| Policy number |  |
| --- | --- |
| Approved by: | PPC, Sr. VP PCS |
| Title of responsible individual or committee: | Perinatal Educator, LDRP Best Practice, OB Collab |
| Original date issued: | 4/30/2011 |
| Last review/revision effective date: |  |
| Next review date: | 4/30/2014 |
| VMC cross-references: |  |